## Consolidated ranking
|  |  |  | CENELEC | COGEN | DSOs | ENTSO-E | ESTELA | EUGINE | ORGALIM | SOLARPOWER EUROPE | VGB | ACER | EC | CONSOLIDATED
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics |  |  | MEDIAN | MEAN
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. |  |  | 8 | 4 | 1 | 9 | 1 | 2 | 8 | 2 | 7 | 9 | 9 | 7 | 5.4545
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). |  |  | 1 | 9 | 2 | 2 | 3 | 7 | 1 | 3 | 5 |  |  | 3 | 3.6667
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. |  |  | 3 | 5 | 8 | 3 | 6 | 6 | 5 | 6 | 4 |  |  | 5 | 5.1111
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. |  |  | 6 | 1 | 3 | 1 | 9 | 8 | 7 | 1 | 2 |  |  | 3 | 4.2222
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG |  |  | 5 | 8 | 9 | 8 | 5 | 5 | 6 | 9 | 6 |  |  | 6 | 6.7778
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. |  |  | 9 | 7 | 7 | 7 | 8 | 9 | 9 | 5 | 3 |  |  | 7 | 7.1111
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development |  |  | 7 | 2 | 5 | 4 | 2 | 1 | 4 | 8 | 1 |  |  | 4 | 3.7778
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG |  |  | 4 | 3 | 6 | 5 | 7 | 3 | 2 | 4 | 8 |  |  | 4 | 4.6667
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. |  |  | 2 | 6 | 4 | 6 | 4 | 4 | 3 | 7 | 9 |  |  | 4 | 5

## CENELEC
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 8
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 1 | CENELEC considers this an important topic, but sees the responsibility with the relevant TSOs and not in ESC-GC
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 3
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 6
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 5 | CENELEC considers this an important topic, but prefers to complete the discussion in already installed working groups (e.g. CIGRE B4.87) before introducing it to ESC-GC
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 9
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 7
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 4
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 2

## COGEN
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 4 | Off-shore power is usually connected by point-to-point HVDC systems or near shore with HVAC, which are multi million Euro projects. These projects can afford to employ a large staff of consulting technical and legal experts. What exactly needs to amended for the HVDC Network Code - this is unclear.
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 9 | LFSM is needed in the case of a system split - this year we already had twice. In order to have a dedicated system response within a synchronous area, these values shall be defined the same in a given synchronous area. The full article 13 should be taken under review, e.g. the the requirements for the step response times or settling times is missing (= how fast shall the reaction be in the case of a system split for different technologies)
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 5 | The primary purpose of Network Code is not harmonisation of technical solutions, this is usually done by standardisation. What exactly is "weak grid supporting" and what is the difference to "strong grid supporting"? Are P(f) and Q(U) functions not suitable to support the grid?
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 1 | This problem can be solved by legal consulting. According to the definition in the RfG (which is somewhat illogical) a (syncronous power-generating) module is not a (power park) module. Synchronous modules are only accounted for unit by unit, whereas PPMs are grouped together. Article 2(9) ‘synchronous power-generating module’ means an indivisible set of installations which can generate electrical energy such that the frequency of the generated voltage, the generator speed and the frequency of network voltage are in a constant ratio and thus in synchronism;
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 8 | If indeed the gridforming characteristic is implicitly denied by RfG requirements, these conflicts need to be identified and amended.
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 7 | See EN 50549-10 (Tests demonstrating compliance of units) for generators connected to distribution networks
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 2 | There are already quite a lot of communication standards for power system including the aspects of cyber security. Many of them have been developed and are maintained by IEC TC 57 (Power systems management and associated information exchange), www.iec.ch/tc57 Please pick one appropriate one, or join the force if you want to improve one. Don't invent the wheel twice.
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 3 | Unclear what the problem is when frequency and voltage deviate. Isn't it normal operation when both grid parameters are not at nominal value? Can't existing equipment cope with both variations? Is a modification of IEC 60034-3 (Specific requirements for synchronous generators driven by steam turbines or combustion gas turbines and for synchronous compensators) needed? https://webstore.iec.ch/publication/27156
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 6 | Reactive power is needed for three main purposes: a) to compensate inductive or capacitive loads b) to cure voltage problems in the distribution grid c) to provide reactive power to the transmission grid which is needed for proper operation of transmission lines. Item a= and b) are not cross border issues. Consequently, only item c) is within the RfG's scope.

## DSOs
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 10 (highest priority), each number to be selected once only i.e. not number 10 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 1 | Of little interest to DSOs
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 2 | Not aware that this is an issue - the historic practice in GB is different for synchronous and non-synchronous.
Product family grouping and EU accepted certificate for manufacturers | - It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 8 | Hugely valuable for manufacturers and DSOs to minimize all the uncertatinties of compliance assurance.
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 9 | This is starting to become needed for both normal and particularly emergency operation.
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 3 | Doesn't need a EG - just needs the proper application of EU law.
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 10 | This is starting to become needed for both normal and particularly emergency operation.
Harmonization of Certification and key functions of PGM | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments | 7 | Hugely valuable for manufacturers and DSOs to minimize all the uncertatinties of compliance assurance.
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 5 | The use of these services is growing, but without the benefit of standardization of technical requirements for communication.
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 6 | Could be an issue in the future for DSOs when penetrations of DSO connected generation.
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 4 | This will always be a local issue - so limited benefit in trying to find a common approach beyond what's already in either the RfG or 50549.

## ENTSO-E
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 9 | The topic is of utmost important, even if the urgency for concluding to specific technical requirements is lower. ENTSO-E supports the creation of a first and of shorter duration EG which will assess the objectives and tasks of a longer EG which will work on the specifics and the requirements. However, it is useful first to see what results have been produced so far (e.g. Tractebel study), which of those are relevant for connection requirements (and not planning) and also identify the right experts to invited to the longer duration EG which can kick off beginning of 2022. Offshore is a new chapter and there are specifics that may need additional studies and therefore the maturity level for incorporating it in the current amendment discussions (at GC ESC) is lower.
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 2 | This can be a topic to be addressed within a Q&A/Issue Logger route or if needed a short workshop for allowing a longer debate. Seems that the topic cannot justify the administrative process for setting an EG.
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 3 | This can be a topic to be addressed within a Q&A/Issue Logger route or if needed a short workshop for allowing a longer debate. There have been some discussions on robustness even in former EGs so we need to clarify better the objective but it also seems that the topic cannot justify the administrative process for setting an EG. However, the point could be merged with the grid forming topic and therefore become of higher priority
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 1 | This seems to be a simpler topic to clarify and no EG is required. Active Library or a specific survey if needed can shed light on how the definition has been incorporated. ENTSO-E feels that the definition is rather clear at EU level but maybe it can be checked whether and why any MSs adopted own interpretation.
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 8 | ENTSO-E has worked in the past on a relevant Technical Report and also hosted public workshops on the topic. We have also been vocal on various workshops in the past where the topic was tackled. Grid forming requirements are important and all stakeholders involved should acknowledge the opportunity to address the topic today with a view to having in the mixture of all available solutions what is needed in our future system for a stable and safe operation.
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 7 | The topic is continuously important for current and future (amended) requirements. The work via the IGDs is ongoing and is the best attempt until today to unify the requests from everyone involved. The IGDs have however specific objectives and therefore and Expert Group could be supportive to the discussions. However, it is clear that we need to rationalize the objectives and task description and benefit from whatever has already been discussed and achieved.
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 4 | This topic stands slightly outside of the boundaries of the CNC domain. Cybersecurity topics and requirements are more operational matters and with ongoing NC drafting in place. ENTSO-E believes that such topics can be monitored and discussed maybe in specific slots at GC ESC in collaboration with other ESCs (SO ESC).
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 5 | This is long remaining topic in the list and not urgent discussions have ever taken place at the GC ESC. I would consider this as a topic to be addressed at GCESC and within Q&A - but first to be better clarified. We consider that even of lower priority that what 5 may imply
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 6 | No further comment We consider that even of lower priority that what 6 may imply

## ESTELA
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 1
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 3
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 6
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 9
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 5
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 8
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 2
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 7
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 4

## EUGINE
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 2
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 7 | Add “harmonization of requirements for ramp rates depending in technologies” which would cover the issue with the 40%Pn reduction in 8 seconds.
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 6
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 8 | There seems to be an error with the text, because Italy and Spain see the definition of synchronous module by individual rating.
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 5
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 9 | Add “to define the use of certified models as an acceptable tool for showing compliance with FRT requirements”. This is a BIG topic in countries like Romania, where the grid operator expects each and every unit to be tested and certified (no family definition accepted and normally forced to make FRT tests).
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 1
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 3
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 4

## Orgalim
|  | T&D Europe | T&D Europe-grid view | VDMA | VDMA-generators view | orgalim | orgalim
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking 1 (lowest) to 9 (highest priority), only 1 choice | Comments | Priority Ranking 1 (lowest) to 9 (highest priority), only 1 choice | Comments | Priority Ranking 1 (lowest) to 9 (highest priority), only 1 choice | Consolidated final ranking
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 9 | - Both HVAC and HVDC off-shore connected windfarms shoud be addressed. - Standarization and harmonized functional, operation, maintenance are of paramount importance to reduce prices, allow for standard equipment and help to accomplish the very demanding targets for windpower. - Safety should be included into the list of requirements to be analyzed | 1 | Transmission platforms represent an important contribution to electricity transport. However, since grid technology is not part of VDMA PowerSystems. We can only give a limited assessment here. The system manufacturers are directly affected by the following points. For this reason, they have been given a higher rating. | 5 | 8
LFSM - O/U: Harmonized or not settings for the droop control (Limited frequency sensitive mode) | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 1 | I think that requirements should be harmonized taking into account the evolution of both synchronous and non synchronous power in EU grids for future, especially if network security must rely more and more on power-generating modules. Think about for future | 2 |  | 1 | 1
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 5 | As the national transport grids are interconnected, it is important to harmonize the approches to solve the problems, and this is important to send right signals for developing the needed technologies. | 7 | a harmonised approach is fully supported from our side. Manufacturers of generation equipment are aware of their role in grid support. We must work together with the grid operators to develop harmonised, overarching solutions. |  | 5
6
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 4 | Harmonization of definition of products is important to achieve an actual common market for HV equipment. | 9 | Clarification here would be very welcome. The different approaches lead to higher certification and planning costs for the manufacturers and thus higher costs for the customers. In Germany, for example, this approach currently leads to double certification of small type A systems that are installed in medium voltage and are supposed to meet the requirements of type B systems there. This also leads to further system certification in Germany, which is disproportionate to the system costs. Translated with www.DeepL.com/Translator (free version) | 7 | 7
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 7 | - The DERs are important for developing the new network's strategy, and is affecting many stakeholders, not only communities, but industrial facilities, Data Centers, etc. It is needed more information and recommendation about connection to grid, requirements, and the need of gridforming converters, in order to allow the microgrids to run out or connected to grid, and include renewable and BESS instead of diesel generators | 6 | It is important to distribute the requirements fairly. Even minimum requirements must not be entirely the responsibility of manufacturers and operators. Network operators must also be responsible here. For example, grid services can be provided and marketed as additional power alongside active power generation. | 8 | 6
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 8 | Harmonization of certification is key in order to create an actual common market for HV technology, and to avoid redundant and expensive costs for deploying new technologies. There are redundant and expensive costs that should be eliminated; they are an obstacle for deploying technologies | 8 | We fully support the above points | 9 | 9
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 3 | - It is important to achieve harmonizaion to facilitate the development of DER | 4 | We fully support the above points. A uniform interface can significantly simplify the planning of the systems. In the wind sector, WindEurope is already talking about the standardised use of IEC 61850. | 4 | 4
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 2 | - The first needed thing about this issue is to try to assess the likelyhood and extension of this phenomena, and to characterize their values, as a first step in order to asses the reliability of the network | 5 | We fully support the above points |  | 2
2
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 6 | It should be interesting to harmonize the issues related to how, where and who should provide reactive power. The problem is that this may be very dependent of local circumstances and of the previous development of existing local networks. | 3 | In Germany, all plants already have to provide reactive power. The regulation of market procurement is currently being developed in Germany by the responsible authority, the BNetzA. On the part of the manufacturers, we are happy to provide reactive power capacities to the grid. However, this must also be remunerated accordingly. This applies to both the provision and the call-off. The market will select the locations according to the requirements mentioned. Translated with www.DeepL.com/Translator (free version) |  | 3
3

## SolarPower Europe
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 2
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 3
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 6 | • This topic may be combined with "Advanced Grid Services and Controls…" since both shall show up possible solutions for challenges resulting from high penetration of distributed Inverter based generation of the European Power System.
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 1
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 9 | • Grid-services will help with adaptation of PV and reduce grid-related issues. Standardisation might increase the offered products.
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 5
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 8 | • Suggested additional bullet point: - to define measures to ensure stable grid operation in case of massive communication faults or hacker attacks (i.e. switch to autonomous operation mode)
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 4
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 7

## VGB
VGB
Topic | Objectives (high level - to be further detailed if the topic is selected) | Priority Ranking please select a number from 1 (lowest priority) to 9 (highest priority), each number to be selected once only i.e. not number 9 in two different topics | Comments
Requirements for off-shore power transmission platforms / Off-shore HVDC strategy | Draft proposal scope: 1. Use cases and purpose 2. Definitions scope of supply 3. Functional requirements 4. Applicable standards 5. Requirements for standardization, interoperability & grid connection The topic is rather dynamic and even critical because of new technologies like floating platforms. Another issue is emerging technical standards for off-shore withstand capabilities of material and insulation. • Assess the EU Strategy on off-shore HVDC grids concerning Grid Connection • Assess the need for setting additional technical requirements in the NC HVDC aiming at ensuring the security of the meshed off-shore DC grid connecting several hybrid projects to the AC networks of two or more MSs or synchronous areas • Analyse the potential scope of a new NC on connections to off-shore DC-networks and assess it against the possibility to successfully include necessary additional requirements in a revised NC HVDC. | 7
LFSM - O/U: Harmonized or not settings for the droop control | Related to: The first item refers to the RfG's article 13 https://eur-lex.europa.eu/eli/reg/2016/631/oj "Pref is the reference active power to which ΔΡ is related and may be specified differently for synchronous power-generating modules and power park modules." and the legend in Figure 1 ("Pref is [A] or [B], as defined by the Relevant TSO"). | 5
Weak grid supporting regulation | - As number of large traditional power plant decreases, the grids are potentially reducing the robustness. It becomes important that smaller sized power plants also pick up the role of grid supporting. Different nations have various approaches, for example, German grid codes have partial grid capability requirement, Italian grid codes require ILF charachteristics, etc. All these requirements have the similar purposes, but different approaches. NC RfG should harmonise these requirements at an EU level. | 4
Inconsistency amongst member states of type classification definition for synchonous generating units | - Type classification of synchronous generating units is being applied inconsistently across member states. Considering the case of multiple gensets installed in a power generating facility sharing a single point of connection with the grid, some member states (such as Romania, Italy and Spain) consider the type classification based on the total installed capacity whereas other member states (such as UK, Poland, and Netherlands) consider only the sychronous generating unit individual rating. Applying the "installed capacity" method drives the need for manufacturers to meet Type C and D requirements in some countries, which adds cost and complexity. There is a need for harmonisation at an EU level. | 2
Advanced Grid Services and Controls for Grids with High Penetration of DER | '-- to provide background Information, definitions and recommendations of the harmonization of potentially new grid services and minimum technical requirements including Gridforming capabilites taking the following into account: - system needs and new control technologies with high DER penetration (based on Technical Report on "High Penetration of Power electronic interfaced power sources..." - the useful potential capabilities of future Type A/B/C/D PGMs - the grid voltage level the PGMs are connected to - the role of EU Directive 2019/944 ("ancillary services" / "non-frequency ancillary services") -- give recommendations on how to deal with converter based generation ("non-synchronous") with synchronous control behaviour ("Gridforming") in terms of grid connection requirements towards the new RfG | 6
Harmonization of Certification and key functions of PGM / Product family grouping and EU accepted certificate for manufacturers | -- to give recommendation on future cost effective and harmonized certification and compliance verification requirements based on - experiences with the actual requirements - IGD on compliance verification - IEC RE WG010 - international best practices / developments / '- It is important to have an EU harmonised certification procedure according to NC RfG. - Repeating tedious FRT tests for each nations bring no new knowledge to manufacturers.. - The major PGU features, such as FRT, would be covered by a manufacturers' EU level certifcate. Each nation still has right to call for local site certifcate, by requesting countries' specific tests that could be combined with commissioning without great additional effort. | 3
Harmonization of Communication Architectures for remote control of DER | -- to provide guidance on feasible standardization of the digital interface of power park modules to the grid operator in order to achieve a secure, robust / resilient, flexible and cost efficient solution for remote monitoring and control of DER in terms of grid operation and ancillary services provision -- to show up relevant relation to cyber security network code under development | 1
Simultaneous deviations of voltage and frequency | - to identify and describe physical phenomena and their impact on equipment design - to guide on how to deal best with these phenomena - not only our generators are endangered, also the existing step-up transformers and grid transformers are not able to withstand the simultaneous deviations as described in NC RfG | 8
Reactive power capability | - to define a baseline for reactive power capability - to clarify the applicability of reactive power capability at the TSO/DSO interface - Requiring extreme wide envelopes Q-U for all generators (as done in several member states) is useless because the ideal point of injection of reactive power into the grid is in general not the place of injection of active power by a PGM. The location of future PGMs is based on elements such as availability of cooling water or natural gas, but never the need for reactive power injection. | 9

## Ranking
1
2
3
4
5
6
7
8
9