## webinar written answers
European Resource Adequacy Assessment 2021: webinar on key assumptions and scenarios
12 October 2021, ENTSO-E Webinar
# | Question from audience | ENTSO-E Reply
1 | [rephrase] Do you carry out an independent (technical) assessment of compatibility of the scenario's with emission reduction targets (independent of price) ? | We reply on the latest National Energy and Climate Plans of MS, which should be compliant with the European targets at the time of the assessment start (end 2020 for ERAA 2021)
2 | Are non-EU countries like Western Balkans considered? | They are fully included in the model and the assessment
3 | Are the efficency rate of generation units armonized centrally ( same value for each category) or you keep exact data from Tsos or operators? | We do use the data of TSOs when available. In other cases we have default values per technology.
4 | Are the national estimates scenarios alligned with national trend ones? | Indeed, National Estimates scenarios are aligned with the National Trends.
5 | Do you assume future outage rates for conventional generation will reflect historical rates or is there a method to adjust for fleet aging / ramping? | Outage rates depend on the technology of generation units. TSOs are also invited to provide forced outage rates for the different units foreseen in their systems in case they have better view on them.
6 | Do you really see an impact of climate change before 2030 ? | Yes, and mainly in term of temperature (cf slide 23) but as there are still extreme events the impact on adequacy is not straightforward (it can increase or decrease depending on the geographical region)
7 | Does the stress test with low thermal integration also include a scenario with low or null interconnection? | No interconnection is not in the scope of this scenario, only uncertainty in generation.
8 | Hello, will there by a public consultation launched by ENTSO-E on ERAA before November? or afterwards? thank you | A public consultation is foreseen to take place once the ERAA 2021 report has been released in November.
9 | How are power plants that are only available on demand for TSOs and therefore not available to the market, considered in the ERAA or the next winter outlook ? | Only resources available in the market are included in the assessment
10 | How are price caps taken into account during the EVA? Do the 15.000 EUR per MWh apply starting from the first hour of scarcity? | Yes, the price cap is modelled similarly to a VoLL, thus it is triggered from the 1st hour of ENS.
11 | How are the RES modelled ? Do you see negative prices ? | RES are modelled as dispatchable units with zero cost.
12 | How do you calculate the capacity that HVDC cables have to cover shortfalls - is this still the 70% you mentioned for the NTC for AC transmission? | The minimum 70% available cross-zonal capacity should apply for the interconnection as whole. Along with the ERAA report we will publish a list of which interconnections comply with this requirement or not. HDVC lines are modelled consisting of multiple number of poles, meaning that when a random outage occurs it might affect a single pole, thus whenever an outage happens will not cut out the whole interconnection capacity.
13 | How many TY will be examined in ERAA? Only 2025 and 2030? | Yes, only 2025 and 2030 for ERAA 2021. We will increase the number of target years gradually in the next editions.
14 | in the scenarios with CMs, how do you choose the assets that are added to fulfill the reliability standard ? | In this scenario we prioritize re-entries of capacity that were flagged as non-profitable at the scenario "without CM". Then, we add technology neutral capacity.
15 | Is the derating for each technology assessed by each country or do you use the same factor for all countries? | By country: each TSO submits the derating of units or groups of units wherever relevant
16 | Is the model able to calculate overgeneration of production? or the target is only to found hours with ENS >0? | In principle this is something that can be seen in the model however it is not in the scope of this assessment. Furthermore, RES are modelled as zero-cost dispatchable units thus in case demand is met before the are fully dispatched, there will be no curtailed energy reported by the model.
17 | On how many years do you assess the profitability of new assets ? Only based on 2025 ? Or do you make some assumptions on potential revenues for 2030,2035...? | The assessment is based on annualized CAPEX and operational costs considering the whole life duration of the asset.
18 | To what extent are you using (and intending to use) Montecarlo? | We still run a full-scale MonteCarlo assessment in both the post-EVA and National Estimates scenarios to calculate the adequacy indicators, ie EENS & LOLE.
19 | To what extent are you using (and intending to use) Montecarlo? | It is also the target in the ERAA target methodology.
20 | What range of weather years are used for each TY to determine adequacy? | ENTSO-E used a range of 35 climate years based on historical records, on which temperature were ''detrended'' to account for climate change
21 | When and where will the data and assumptions be published by ENTSO-E, so that they can be checked and compared by stakeholders? | Data publication will accompany the publication of ERAA 2021 report, planned for mid-November.
22 | When you assess the costs of operation in the EVA model do you include the regulatory costs/taxes the power plant supports for its operation for each country? | ERAA 2021 does not consider country specific regulatory costs.
23 | You mentioned that in the EVA without CM there were significant adequacy risks. Would you not expect that all markets should have ENS if there are no CMs? | The ERAA assessment shows that without CM not all bidding zones would have EENS.
24 | You stated the analysis was made for 2025/2030, but the ERAA was specified to be made for 10 target years in a 10 years horizon, when will this be implemented? | we have an implementation roadmap until ERAA 2024 (cf next slides)